## BOQ
BOQ – BILL OF QUANTITIES AND BUDGET
Migdalei Yam a Tijon – Assisted living · 8 floors + GF · 32 apartments
Client: ACE BG · Advantecnia Date: 23/10/2026
| Currency | ₪ ILS |  | Yellow cells = fill in (unit prices). Blue text = inputs; black = formulas; green = link to another sheet.
| Contingency | 5%
| VAT (Israel) | 18%
# | Code | Description | Unit | Qty | Unit price | Total | Remark
IN THE APARTMENTS (4 per floor)
1 | TAB | Door tablet (iPad / Android) – call and voice | pcs | 32 |  | 0 | 1 per apartment
2 | ACE82182451 | Voice call panel with buttons | pcs | 80 |  | 0 | living room + each bedroom
3 | ACE40320303W | Bathroom pull-cord (toilet and shower) | pcs | 128 |  | 0 | 4 per apartment
4 | ACE71610003 | LCom – apartment radial hub (ceiling) | pcs | 32 |  | 0 | 1 per apartment
[5 empty] | Subtotal | 0
PUBLIC TOILETS
5 | ACE40320303W | Bathroom pull-cord | pcs | 10 |  | 0 | 1 per floor + 2 on GF
6 | ACE41020309 | Corridor light above the door | pcs | 10 |  | 0 | above each door
7 | ACE71610003 | LCom – hub (ceiling) | pcs | 9 |  | 0 | 1 per floor + 1 on GF
[5 empty] | Subtotal | 0
RACKS AND HEAD-END
8 | ACE70810000 | BoxCom – bus hub (ceiling) | pcs | 17 |  | 0 | 2 per floor + 1 on GF
9 | DES-1210-28P | D-Link DES-1210-28P 24-port PoE switch | pcs | 9 |  | 0 | 1 per floor + GF
10 | GAB | 12U wall rack with patch panel | pcs | 8 |  | 0 | 1 per floor
11 | GAB-PB | Main rack with UPS | pcs | 1 |  | 0 | ground floor
12 | Buslogic Premium | Buslogic Premium server (Advantcare) with software | pcs | 1 |  | 0 | ground floor
13 | Grandstream | Grandstream Android PoE phone (colour per call type) | pcs | 1 |  | 0 | nurse desk
[5 empty] | Subtotal | 0
CABLING (model lengths + reserve, see Cables sheet)
14 | APT | Cat6 radial inside the apartments (green) | m | 1700 |  | 0 | model length + reserve
15 | CHAIN | Cat6 / Cat7 chain LCom → BoxCom (orange) | m | 750 |  | 0 | model length + reserve
16 | NET | Cat6A / Cat7 racks and riser (red) | m | 130 |  | 0 | model length + reserve
[5 empty] | Subtotal | 0
INSTALLATION
17 | INS-EQ | Mounting and connection of devices (panels, lights, pull-cords, PCB/LCom/BoxCom, tablets) | pcs | 319 |  | 0 | sum of all devices
18 | INS-CAB | Cable pulling in tray / ceiling, conduit and labelling | m | 2580 |  | 0 | sum of all cabling
19 | INS-RACK | Rack assembly: switch, server, patch panel, UPS | lot | 1 |  | 0
20 | INS-PRG | Programming, commissioning and testing of every call point | lot | 1 |  | 0
21 | INS-ASB | As-built drawings and handover protocol | lot | 1 |  | 0
[5 empty] | Subtotal | 0
TRAINING
22 | TR-USR | Training for nursing / reception staff (daily use) | session | 2 |  | 0 | per shift
23 | TR-TEC | Technical training for maintenance / IT | session | 1 |  | 0
24 | TR-DOC | User and technical manuals (ES / EN / HE) | lot | 1 |  | 0
[5 empty] | Subtotal | 0
WARRANTY AND SERVICE
25 | GAR-EQ | Equipment warranty | year | 1 |  | 0 | as per manufacturer
26 | GAR-INS | Installation and workmanship warranty | year | 1 |  | 0
27 | MNT | Preventive maintenance and technical support (optional) | year | 1 |  | 0 | optional
[5 empty] | Subtotal | 0
[5 empty] | Subtotal | 0
[5 empty] | Contingency | 0
[5 empty] | Subtotal incl. contingency | 0
[5 empty] | VAT (Israel) | 0
[5 empty] | TOTAL INCL. VAT | 0
Note on C6: Assumption: 5 % contingency. Adjust.
Note on C7: Israel VAT 18 % (since 01/2025). Set 0 % if not applicable.

## Quantities per level
Quantities per level
Typical floors | 8 | ← change if the number of floors changes
Code | Description | Per typical floor | Floors | Ground floor | Total
IN THE APARTMENTS (4 per floor)
TAB | Door tablet (iPad / Android) – call and voice | 4 | 8 | 0 | 32
VOZ | Voice call panel with buttons – ACE82182451 | 10 | 8 | 0 | 80
TI/TD | Bathroom pull-cord (toilet and shower) – ACE40320303W | 16 | 8 | 0 | 128
LC | LCom – apartment radial hub (ceiling) – ACE71610003 | 4 | 8 | 0 | 32
PUBLIC TOILETS
T | Bathroom pull-cord – ACE40320303W | 1 | 8 | 2 | 10
LP | Corridor light above the door – ACE41020309 | 1 | 8 | 2 | 10
LC | LCom – hub (ceiling) – ACE71610003 | 1 | 8 | 1 | 9
RACKS AND HEAD-END
BC | BoxCom – bus hub (ceiling) – ACE70810000 | 2 | 8 | 1 | 17
SW | D-Link DES-1210-28P 24-port PoE switch – DES-1210-28P | 1 | 8 | 1 | 9
GAB | 12U wall rack with patch panel | 1 | 8 | 0 | 8
GAB-PB | Main rack with UPS | 0 | 8 | 1 | 1
SRV | Buslogic Premium server (Advantcare) with software – Buslogic Premium | 0 | 8 | 1 | 1
TEL | Grandstream Android PoE phone (colour per call type) – Grandstream | 0 | 8 | 1 | 1

## Cables
Cables
Reserve | 15%
Round up to | 10
Typical floors | 8
Code | Description | Calculated per floor (m) | Calculated GF (m) | Fixed extra (m) | Reserve | Qty to buy (m)
APT | Cat6 radial inside the apartments (green) | 183.1 | 13.2 | 0 | 15% | 1700
CHAIN | Cat6 / Cat7 chain LCom → BoxCom (orange) | 79.9 | 11.5 | 0 | 15% | 750
NET | Cat6A / Cat7 racks and riser (red) | 7.4 | 23.6 | 28.8 | 15% | 130
Note on E10: Riser: 9 runs × 3.2 m (floor height).

## Notes
Notes
1. Quantities taken from the project's 3D/2D model (typical floor × floors + ground floor).
2. Cable lengths measured along the drawn routes; reserve and rounding are set in the Cables sheet.
3. Unit prices: fill in from the current Advantecnia / supplier price list (yellow cells).
4. 5 % contingency and 18 % VAT are editable assumptions (BOQ sheet, cells C6 and C7).
5. Preliminary quantities: verify on site before purchasing.