## BOQ
IMPORTANT – THIS IS NOT A REAL, FORMAL OR OFFICIAL PROPOSAL. It is an example only, prepared to support the offer that Orad must make to the end client.
BOQ – Bill of quantities – Example Proposal 1
Example Proposal 1 · Yoseftal Medical Center, Eilat · ORAD-YOS-EX1-2026-10 · 26/10/2026
1 ward section · 8 rooms × 3 beds · 8 en-suite bathrooms · 1 nurse station
Quantities only – unit prices to be filled in by Orad / subcontractor (yellow). Cable lengths are estimates from the example layout; confirm on site.
# | Code | Description | Unit | Qty | Unit price | Total | Location / remark
A. EQUIPMENT (nurse call – Shabbat system)
1 | ACE82012153 | Bed call panel, red, with bayonet socket for pear handset | pcs | 24 |  | 0 | 3 per room × 8 rooms
2 | ACE39060521 | Pear handset, 1 capacitive button, 2 m cable, bayonet | pcs | 24 |  | 0 | 1 per bed × 24 beds
3 | ACE82082137 | Presence / cancel panel, green | pcs | 16 |  | 0 | 8 rooms (by the door) + 8 bathrooms (outside)
4 | ACE40320303 | SOS mechanism with pull-cord (toilet / shower) | pcs | 16 |  | 0 | 2 per bathroom (toilet + shower) × 8
5 | EOP004 | Corridor light, 3 colours (red · green · blue) | pcs | 16 |  | 0 | 8 rooms + 8 bathrooms (above the door)
6 | ECV169 | Room controller PCB 24 pins, 12–48 V DC | pcs | 24 |  | 0 | 2 per room + 1 per bathroom = 24
7 | EVV049 | SmartHub connectia – head of the controller bus | pcs | 1 |  | 0 | 1 per ward section
8 | EOP006 | LVNS server – local server & notifications | pcs | 1 |  | 0 | 1 server for the whole system
9 | EOP002 | Nurse station iPad 10.9" Wi-Fi 128 GB | pcs | 1 |  | 0 | 1 per nurse station
10 | EVV038 | ionTab client/server licences + MDM (1st year included) | pcs | 1 |  | 0 | 1 per ward section
11 | ACESWP24P | PoE switch 24 ports, managed | pcs | 1 |  | 0 | 1 per ward section rack
12 | RACK9U | Wall rack 19" 9U with PDU, shelf and cable management | pcs | 1 |  | 0 | 1 per ward section
13 | UPS1500 | UPS 1500 VA online, rack mount | pcs | 1 |  | 0 | 1 per rack
14 | WAP6 | Wi-Fi 6 access point, PoE, at the nurse station | pcs | 1 |  | 0 | 1 per nurse station
|  | Subtotal |  |  |  | 0
B. CABLING AND CONTAINMENT
15 | CB-BUS | Bus cable 2×2×0.8 mm (RS485 + 12–48 V) – PCB daisy chain | m | 60 |  | 0 | ≈ corridor 30 m + rack drops + 15%
16 | CB-UTP6 | UTP Cat6 cable – device drops to the PCBs | m | 1000 |  | 0 | 9 devices per room unit × 8 × ~12 m + 10%
17 | CB-JB | Junction box for room controller (PCB) in ceiling | pcs | 24 |  | 0 | 1 per PCB
18 | CB-BB | Flush back box for wall devices | pcs | 72 |  | 0 | bed panels, presence, SOS, lights
19 | CB-TRAY | Cable tray / conduit in corridor ceiling | m | 33 |  | 0 | corridor length + 10%
20 | CB-PWR | 230 V dedicated circuit to each rack | lot | 1 |  | 0 | by the electrician
|  | Subtotal |  |  |  | 0
C. INSTALLATION AND COMMISSIONING
21 | INS-DEV | Mounting and connection of wall devices | pcs | 72 |  | 0
22 | INS-PCB | Installation and wiring of room controllers (PCB) | pcs | 24 |  | 0
23 | INS-RACK | Rack assembly: SmartHub, server, switch, UPS | lot | 1 |  | 0
24 | INS-WIFI | Wi-Fi access point and nurse iPad set-up | lot | 1 |  | 0
25 | INS-PRG | Programming, commissioning and test of every call point | pcs | 56 |  | 0 | bed + SOS + presence points
26 | INS-ASB | As-built drawings and handover protocol | lot | 1 |  | 0
|  | Subtotal |  |  |  | 0
D. TRAINING
27 | TR-USR | Nursing staff training (daily use, Consola Monitor) | session | 2 |  | 0
28 | TR-TEC | Technical training for maintenance / IT | session | 1 |  | 0
29 | TR-DOC | User and technical manuals (EN / HE) | lot | 1 |  | 0
|  | Subtotal |  |  |  | 0
E. WARRANTY AND SOFTWARE
30 | WAR-1Y | Warranty 1 year on manufactured products | lot | 1 |  | 0
31 | SW-UPD | Software licences & updates – years 2 and 3 | year | 2 |  | 0 | year 1 included (EVV038)
32 | SW-MAINT | Optional: full remote support | year | 0 |  | 0 | optional – 15% / year
|  | Subtotal |  |  |  | 0
|  | TOTAL (before VAT) |  |  |  | 0
|  | Contingency |  |  | 5% | 0
|  | VAT (Israel) |  |  | 18% | 0
|  | TOTAL INCL. VAT |  |  |  | 0
EXAMPLE ONLY – NOT A REAL, FORMAL OR OFFICIAL PROPOSAL