IMPORTANT – THIS IS NOT A REAL, FORMAL OR OFFICIAL PROPOSAL. It is an example only, prepared to support the offer that Orad must make to the end client.

CONSULTATION FORM – for a real proposal

Example Proposal 1 · ORAD-YOS-EX1-2026-10

Pre-filled with the values of this example. Orad confirms or corrects each value with the hospital and sends the form back with the files, so a real proposal can be prepared.

| Field | Example value (confirm / correct) | OK? |
| --- | --- | --- |
| End client | Yoseftal Medical Center, Eilat | ☐ |
| Project / site | Inpatient ward(s) – nurse call | ☐ |
| Distributor | Orad | ☐ |
| Requested by (name) |  | ☐ |
| Request date |  | ☐ |
| BOQ attached? Y / N |  | ☐ |
| Project specification (מפרט) attached? Y / N |  | ☐ |
| Drawings attached? Y / N – type: PDF / 2D / 3D / PPTX / DXF / DWG / IFC |  | ☐ |
| Cabling scheme attached? Y / N |  | ☐ |
| Number of floors / ward sections | 1 section(s) – floors: ? | ☐ |
| Number of rooms | 8 | ☐ |
| Number of beds | 24 (3 per room) | ☐ |
| Voice call? Y / N | N | ☐ |
| Shabbat? Y / N | Y | ☐ |
| Bathrooms: shower and toilet together / separate | Together – 1 en-suite bathroom per room (basin, shower, toilet) | ☐ |
| SOS pull-cords in bathroom | 2 – beside toilet + beside shower | ☐ |
| Presence / cancel? Y / N | Y – by each room door (inside) + outside each bathroom | ☐ |
| Corridor light? Y / N | Y – above each room door and each bathroom door | ☐ |
| Nurse desk? Y / N | Y – 1 (iPad, outside the rooms) | ☐ |
| TV or digital call display? Y / N | N (optional) | ☐ |
| Pear handset? Y / N | Y – 1 per bed | ☐ |
| Server / network | 1 LVNS server, PoE switch, rack, UPS, Wi-Fi AP | ☐ |
| Extras: tablet / public address / intercom / cameras / other |  | ☐ |
| Free text / explanation |  | ☐ |

Questions to answer for a real proposal

☐  1. Real floor plans of the ward(s) (PDF / DWG) and the floor number(s)

☐  2. Exact number of rooms, beds per room and bathrooms – any single rooms or isolation rooms?

☐  3. Bathroom layout: shared by the room or between two rooms? Separate WC and shower?

☐  4. Is Code Blue / doctor call needed at the bed?

☐  5. Nurse station: iPad only, or also a PC / wall screen / staff phones?

☐  6. Ceiling type and access (for the room controllers and the bus cable)

☐  7. Location of the rack(s), distance to the farthest room, 230 V and UPS available?

☐  8. Hospital network and Wi-Fi: can the system use them, or a separate network?

☐  9. Existing nurse call system to replace? Brand, what stays, what is removed

☐  10. Shabbat requirements of the hospital (ZOMET certificate needed?)

☐  11. Integration: patient monitors, intercom, public address, cameras, access control

☐  12. Who installs and wires (Orad / subcontractor / hospital)?

☐  13. Timeline: tender date, installation date, phases

☐  14. Spare parts, warranty and service period required

☐  15. Contact person at the hospital (name, role, phone, e-mail)

Files to attach

☐  Floor plans (PDF / DWG / DXF)

☐  Technical specification (מפרט) or tender

☐  BOQ (כתב כמויות) if available

☐  Photos of rooms, bathrooms, corridor and nurse station

☐  Existing system details

Filled in by (name / company / date):

_______________________________________________

IMPORTANT – THIS IS NOT A REAL, FORMAL OR OFFICIAL PROPOSAL. It is an example only, prepared to support the offer that Orad must make to the end client.